—— Introduction to Health Products ————————————————

Respiratory and Heartbeat Monitoring Radar

**Product Introduction**

The Respiratory and Heartbeat Monitoring Radar is a millimeter-wave radar system designed to monitor the breathing and heartbeat rates of individuals during sleep. It enables real-time tracking of respiratory and cardiac data, detects personnel departure, and continuously assesses physical status and in-bed presence. In the event of abnormal vital sign readings, the system automatically sends alert notifications to family members or healthcare institutions via WeChat mini programs, facilitating prompt follow-up and intervention.

**Product Characteristics**

- High-performance FMCW modulation technology with a highly integrated MMIC architecture

- Phased array radar utilizing DBF (Digital Beamforming) technology

- Equipped with 4 transmitting and 4 receiving antennas

- Detection range adjustable between 0.2 and 2 meters

- Ultra-wide detection coverage of up to 100°

- Ensures user privacy through non-invasive monitoring

- Rapid system initialization

**Application Scene**

- Hospital wards

- Nursing homes and rehabilitation centers

- Home healthcare and wellness monitoring

- Home health and wellness

**Performance Parameter**

| Parameter | Numerical Value |
| --- | --- |
| Radar Performance |  |
| Frequency Band | 60GHz |
| Bandwidth | 4GHz |
| Maximum Transmission Power | 21 dBm（EIRP） |
| Detection Range | 1 to 2metres |
| Horizontal Beamwidth | -50° to +50° |
| Pitch Beamwidth | -40° to +40° |
| General Parameters |  |
| Temperature | -40℃ to +70℃ |
| Protection Level | IP67 |
| Weight | 147 g |
| Power Supply | 9V to 12 V |
| Power Consumption | ≤2W |
| Dimensions (Length × Width × Height) | 104mm × 70mm × 34mm |
| Device Interface | RS-485/WIFI/Bluetooth |

—— Introduction to Health Products ————————————————

Fall Detection Radar

**Product Introduction**

The Fall Detection Radar is a millimeter-wave radar system capable of detecting whether a target has fallen. It enables accurate perception of human body status for indoor personnel monitoring. In the event of a fall, the system automatically sends abnormal alarm notifications to family members or nursing institutions via WeChat mini programs, facilitating timely follow-up and response.

**Product Characteristics**

- High-performance FMCW modulation technology with a highly integrated MMIC architecture

-Phased array radar utilizing DBF (Digital Beamforming) technology

-Equipped with 4 transmitting and 4 receiving antennas

- Ultra-wide detection coverage of up to 100°

-Ensures user privacy through non-invasive monitoring

- Rapid system initialization

**Application Scene**

- Hospital wards

- Nursing homes and rehabilitation centers

- Home healthcare and wellness monitoring

**Performance Parameter**

| Parameter | Numerical Value |
| --- | --- |
| Radar Performance |  |
| Frequency Band | 60GHz |
| Bandwidth | 4GHz |
| Maximum Transmission Power | 21 dBm（EIRP） |
| Detection Range | ≤19㎡（Installed at a height of 3 meters） |
| Horizontal Beamwidth | -50° to +50° |
| Pitch Beamwidth | -40° to +40° |
| General Parameters |  |
| Temperature | -40℃ to +70℃ |
| Protection Level | IP67 |
| Weight | 147g |
| Power Supply | 9V to 12 V |
| Power Consumption | ≤2W |
| Dimensions (Length × Width × Height) | 104mm × 70mm × 34mm |
| Device Interface | RS-485/WIFI/ Bluetooth |